## Spec(T)
■ Specification
Application Model | : | LS-TM | Max. Working Pressure | : 5bar
Class | : | DNV.GL, KR, BV, LR, ABS | Max. Working Temp. | : 120℃
Units | : | METRIC | Min. SP/GR | : 0.6
IP Rating | : | 56 | Insulation Resistance | : 100㏁ Min. at 500DC
Switch Capacity | : | 50VA | Dielectric Strength | : AC 350V, 50/60Hz
for 1 Minute
■ Service Life
Electrical Operations |  | : Min. 400,000,000 at Switching Current
■ Operating Principle
LS-TM
DAEHWA ENGINEERING SENSOR CO., LTD.
As shown in the drawing below, permanent magnets are fitted inside of the float. The float moves up and down along the guide pipe which is made of stainless steel. Two sets of reed switches are installed inside of the guide pipe. As the float reaches a certain level, the reed switch is actuated by magnetic force.
As shown in the drawing below, permanent magnets are fitted inside of the float. The float moves up and down along the guide pipe which is made of stainless steel. Two sets of reed switches are installed inside of the guide pipe. As the float reaches a certain level, the reed switch is actuated by magnetic force.
As shown in the drawing below, permanent magnets are fitted inside of the float. The float moves up and down along the guide pipe which is made of stainless steel. Two sets of reed switches are installed inside of the guide pipe. As the float reaches a certain level, the reed switch is actuated by magnetic force.
As shown in the drawing below, permanent magnets are fitted inside of the float. The float moves up and down along the guide pipe which is made of stainless steel. Two sets of reed switches are installed inside of the guide pipe. As the float reaches a certain level, the reed switch is actuated by magnetic force.
NORMAL
ALARM
Specification
( Top Mounting Type )
In Case of B-Contact (Normally Closed)
8