Inquiry no. VWI092418 H. Finetek (407954) - 04 pcs Mini Float level switch, specs.: connection: 1-1/2" dia wetted material: SUS316, switching capacity: 50W/SPST power supply: 200-240 VDC / 0.5-1 A model: FDM10000